Lab #1: Chemical Analysis of Volatile Compounds in Hard Liquors by Gas Chromatography

Directions: print out three articles (1a, 1b, and 1c) under Lab #1. Read this manual/guideline and answer questions in a separate paper. Make two copies. Keep one copy for your use in the class and submit the other to me before we start the lab.

- Goals: Chemical analysis of one or more volatile compounds in liquors

- Major compound(s): List them in your lab notebook (see Table 1 in paper #1a)

- We will quantify 1-propanol in hard liquors/tequila.

- Analytical method

  - GC (direct liquid injection)

  - GC (headspace injection)

- Sample Preparation

  - Internal standard: (What’s this? see page 1337 in paper #1b)

  - Standard solution: Assume that target compound is methanol, please describe the way you can prepare four standard solutions with a target and internal stand. See “Preparation of calibrators” in page 742 in paper #1c.

    - What’s the concentration range of target and internal standard in standard solutions?

    - How many standard solutions are required?

    - How you can prepare standard solutions?

  - Dilution of original sample required? If yes, how many times?

  - ETC

- GC experimental condition

  - Direct liquid injection: see page 1338 in paper #1b)

- Column?

- Inlet temperature?

- Detector temperature?

- Oven temperature? how was it programmed?

- Carrier gas and flow rate?

- Split ratio?

- Injection amount?

- What’s the material of HP-Innowax column and what compounds are analyzed by this column: find at https://www.agilent.com/

  - Headspace injection: see page 449 in paper #1a)

- Column?

- Inlet temperature?

- Detector temperature?

- Oven temperature? how was it programmed?

- Carrier gas and flow rate?

- Split ratio?

- What’s the material of DB-Wax column and what compounds are analyzed by this column: find at https://www.agilent.com/ and do self research for compounds analyzed by this column.

- Headspace heating condition: Summary conditions, see “Headspace conditions” in page 742paper #1c

- What equipment and chemical needed? Please list all equipment and chemicals. Some examples are listed below.

  - 10 mL volume flask, (3 ea)

  - 10 mL methanol (100 %)

  - Micropipette

  - Balance

  - Headspace vials

  - Liquids vials

  - ETC

- Data analysis

  - External Std

  - Internal Std

- Other considerations